## Sheet1
Author | Title | Year | Notes
Ianakiev, et al | AEM technology based on transmission measurements with an X-ray source and NaI(Tl) spectrometer | 2015 | Notch filter used to select energies from X-ray tube
Problem with old 186 keV monitoring: must replace Cd-109 source (enrichment monitor in [2])
Notch filter Ru or Ag to get 22 keV or 25.5 keV gammas
So they basically replaced the Cd-109 source with X-ray source and Ru filter. Problems: Bremmstralung radiation in a continuous spectrum; sensititive to voltage variations.
wavelength of photons = 56 pm
Problem to solve: must measure both pressure of gas and the number of 186 keV gammas
must select energy of gamma transmission based on attenuation in piping
Packer, Wormald | Continuous monitoring of variations in the 235U enrichment of uranium in the header pipework of a centrifuge enrichment plant | 1994
Strittmatter | A gas-phase UF6 enrichment monitor | 1982
Berezin, et al | UF6 enrichment measurements using TDLS techniques | 2006 | BaF2 windows- transparent in IR (candidate for UV?)
IR range lasers (7.68 micrometers)
when dealing with UF6, must passivize with Flourine gas first
Flouridation means that the windows are not clear for some spectral interval
T_i(v)=exp[-sigma(v)*P*L]
Vibrational modes of UF6! (667, 534, 626, 186, 200, 143 cm^-1)
McDowell, Asprey, , Paine | Journal of chemical physics 61 | 1974 | must account for all linear combinations of vibrational modes
what are these other gases that are present (e.g. HF)? Apparently there was water in their beam path
Pretty good apparent agreement with IAEA samples at natural and at 13.7%